CONSTRUCTION TRAFFIC CONTROL MEASUREMENT AND PAYMENT

ITEM 1103 – CONSTRUCTION TRAFFIC CONTROL

ON PAGE 7 OF SECTION 1103 OF THE ISPWC, Part 4 – Measurement and Payment, replace subsection 4.1 and replace with the following sections:

- An itemized list of all traffic control items installed on the project and their respective certifications shall be delivered to the project inspector within 48 hours of installation.

- The traffic control (TC) devices shall be paid as listed on the bid item schedule.  Miscellaneous traffic control items including flashers and flags shall be considered incidental to other traffic control items and no separate payment will be made.

- The accepted quantity of construction signs will be paid for at the contract unit price bid per square foot for the initial installation only.  Signs utilized for multiple construction phases shall be paid for at the contract unit price bid per square foot for the initial installation only.  Additional payment will not be made for signs that are removed from the project and reinstalled during a later phase of construction.  Relocation of signs within the project after the initial installation shall be paid for under the Traffic Control Maintenance item, as authorized by the Engineer.

- Traffic Control Maintenance and flagging are to be initiated only by authorization of the project inspector.  TC Maintenance personnel and Flaggers are to notify the project inspector upon arrival on site.  Invoices for TC Maintenance and Flagger hours are to be provided to the project inspector within 48 hours of the day the activity took place.

- The cost to cover, relocate and/or reinstall existing permanent traffic control signs as required within the construction limits shall be incidental to the other traffic control items of work, and no separate payment shall be made.  This work shall be performed in accordance with the Manual on Uniform Traffic Control Devices, current edition.